## Start Here
LeadAfrik
Asset & Equipment Maintenance Log
Register every piece of equipment once, log each service or repair, and let the sheet tell you what is due, what is overdue and what has cost you the most.
How to use it
1. On Equipment, list each asset once: name, category, serial, purchase date, warranty-until date and supplier.
2. On Service Log, record each service or repair: date, equipment (from the dropdown), service type, cost in KES and the next-service date.
3. Back on Equipment, the warranty status, next service due, total cost and service status fill in automatically. Expired warranties and overdue services turn red.
4. Summary gives you the totals: how many are overdue, how many warranties have lapsed and what maintenance has cost.
Colour guide
Yellow cells — type here. These are the only cells you edit.
White cells — automatic formulas. Locked so the logic cannot break.
Red — needs attention (a coverage gap, an overdue service, an expired warranty).
Green — all good (covered, in date, up to date).
Tip: red means act now — an expired warranty or a service past its due date.
Works in Excel, WPS or Google Sheets. On your phone, upload to Google Drive and open with Google Sheets.
Also plan your team's week with the free Staff Duty Roster at leadafrik.com/templates.
© LeadAfrik · leadafrik.com/templates · Built to be used.

## Service Log
Date | Equipment | Service type | Cost (KES) | Next service date | Done by | Notes
2026-01-15 | Autoclave 24L | Routine service | 3500 | 2026-07-15 | BioMed Tech | Seals checked, OK
2026-02-02 | BP Machine (digital) | Calibration | 1200 | 2026-08-02 | Medisel Kenya | Calibrated to standard
2026-03-10 | Centrifuge | Repair | 8500 | 2026-09-10 | Lab Depot EA | Motor bearing replaced
2026-04-05 | Vaccine Fridge | Inspection | 0 | 2026-10-05 | Coolcare Ltd | Temp log verified
2026-04-20 | Oxygen Concentrator | Parts replacement | 6200 | 2026-07-20 | Hewatele | Filter + sieve bed
2026-05-12 | Binocular Microscope | Routine service | 2000 | 2026-11-12 | Lab Depot EA | Lens clean, aligned
2026-06-01 | Autoclave 24L | Repair | 4800 | 2026-06-25 | BioMed Tech | Pressure valve
2026-06-18 | Delivery Bed | Routine service | 1500 | 2026-12-18 | Surgipharm | Hydraulics greased
2026-07-02 | Nebulizer | Inspection | 0 | 2027-01-02 | Medisel Kenya | Working well
2026-07-15 | BP Machine (digital) | Repair | 900 | 2026-07-25 | Medisel Kenya | Cuff replaced

## Equipment
Tag | Equipment name | Category | Serial no | Purchase date | Warranty until | Supplier | Warranty | Services | Total cost (KES) | Last service | Next due | Service status
E001 | BP Machine (digital) | Diagnostic | BP-2024-01 | 2024-02-10 | 2026-02-10 | Medisel Kenya
E002 | Autoclave 24L | Sterilisation | AC-2023-77 | 2023-06-01 | 2025-06-01 | Surgipharm
E003 | Binocular Microscope | Laboratory | MIC-2022-14 | 2022-09-15 | 2024-09-15 | Lab Depot EA
E004 | Vaccine Fridge | Cold chain | VF-2024-09 | 2024-11-20 | 2027-11-20 | Coolcare Ltd
E005 | Nebulizer | Ward | NB-2025-03 | 2025-03-05 | 2027-03-05 | Medisel Kenya
E006 | Centrifuge | Laboratory | CF-2023-41 | 2023-04-12 | 2025-04-12 | Lab Depot EA
E007 | Oxygen Concentrator | Ward | OC-2024-22 | 2024-07-01 | 2026-07-01 | Hewatele
E008 | Delivery Bed | Theatre/Surgical | DB-2021-05 | 2021-01-18 | 2023-01-18 | Surgipharm
E009
E010
E011
E012
E013
E014
E015
E016
E017
E018
E019
E020
E021
E022
E023
E024
E025
Formulas:
Warranty = IF([Warranty until]="","",IF([Warranty until]<TODAY(),"Expired",IF([Warranty until]<TODAY()+30,"Expiring","Valid")))
Service status = IF([Equipment name]="","",IF([Next due]="","No schedule",IF([Next due]<TODAY(),"Overdue",IF([Next due]<TODAY()+14,"Due soon","Scheduled"))))

## Summary
Maintenance Summary
Your equipment and its upkeep at a glance.
Equipment on register
Total maintenance cost (KES)
Warranty expired
Services overdue
Services due soon